## Slide 1: The Water–Energy Nexus
Robert B. Sowby, Ph.D., P.E., ENV SP
Brigham Young University
The Energy Council
2024 Global Energy and Environmental Issues Conference
Dec. 6, 2024 | Salt Lake City

## Slide 2: 1986 and 2022
Notes: Vanishing act
Lost 2/3 of area, 3/4 of water
Doesn’t show loss of groundwater; crust is rebounding

## Slide 3: Pumping Pacific Ocean Water to Great Salt Lake
400 MW
11% of UT elec.
$300M/yr
1 MMT CO2e/yr
200,000 cars

## Slide 4: The Nexus
WATER
ENERGY
Energy for Water
(pumping, treatment, water heating, wastewater)
Water for Energy
(thermoelectric cooling, steam, hydropower)

## Slide 5: Water for Energy
Thermoelectric power:
41% of all U.S. water withdrawals
(Dieter et al. 2018)
Intermountain Power Project

## Slide 6
Notes: Lots of water on Earth—oceans, clouds, groundwater, rivers, lakes, ice—all three phases—but not directly consumable. We overcome these challenges with energy.

## Slide 7
Notes: We use energy to move water to the right place, treat it to the right quality, and store it for the right time.

## Slide 8: Energy for Water
U.S.: 13% of total energy (Sanders and Webber 2012)
Utah: 7% of total energy (DWRe 2012)
California: 19% of electricity and 30% of natural gas (CEC 2005)
Idaho: 34%–49% of electricity (Tidwell et al. 2014)

## Slide 9: Energy for Water

## Slide 10: Energy for Water: Irrigation
1% of all U.S. energy
Sowby and Dicataldo 2022

## Slide 11: Energy for Water: Drinking Water
1%–2% of all U.S. energy
Sowby and Burian 2017

## Slide 12: Optimized Water System
ENERGY
EFFICIENCY
OPTIMIZED
SYSTEM
WATER QUALITY
HYDRAULIC PERFORMANCE
Jones and Sowby 2014

## Slide 13
JORDAN VALLEY WATER CONSERVANCY DISTRICT
Salt Lake City, UT | 700,000 people
19% reduction from baseline

## Slide 14
Chart: Energy Intensity of Water Processed (kWh/MG)
| Carol Way Well | Solena Way Well | Webster Well | 23 & 98 Well | 15 & 94 Well | Newbury Well | Southwest WTP (groundwater) | 10 & 78 Well | 7 & 82 Well | 15 & 86 Well | 9 & 85 Well | 13 & 78 Well | Albion Well | Moniter Well | 1330 E Well | 7 & 77 Well | 1784 Creek Well | 11 & 45 Well | 1590 Well | Willow Creek Well | Siesta Well | 6400 Well | Southeast Regional WTP | Jordan Valley WTP
 | 5829.7699 | 5687.7642 | 3787.2859 | 3175.7404 | 3084.7897 | 2987.4223 | 2935.2446 | 2475.1971 | 2284.0891 | 2263.7229 | 2250.6104 | 2240.5667 | 2191.1855 | 2114.1844 | 2098.5609 | 2061.7343 | 2027.9765 | 2009.5632 | 1805.3427 | 1513.5194 | 1507.1027 | 1403.8765 | 445.9841 | 122.4363

## Slide 15
CITY OF NORTH SALT LAKE, UTAH
21,000 people
25% reduction from baseline

## Slide 16
High elevation
Pumping in Circles
BEFORE
Low elevation
Notes: [Maybe cut this slide]

## Slide 17
High elevation
Pumping in Circles
AFTER
Low elevation
Notes: [Maybe cut this slide]

## Slide 18
LOGAN CITY, UTAH
50,000 people
32% energy cost reduction from baseline
Chart: 
| Mainline breaks | Water use | Energy cost
2013 | 1 | 1 | 1
2014 | 0.60377 | 0.83333 | 0.67991
↓ 40%
↓ 17%
↓ 32%

## Slide 19
The savings and operational efficiency have continued each year since 2013. … If the current savings continue, the payback period for this project will be shorter than projected.
—Paul Lindhardt, W/WW Manager
Notes: [Maybe cut this slide]

## Slide 20: The Nexus
WATER
ENERGY
Energy for Water
(pumping, treatment, water heating, wastewater)
Water for Energy
(thermoelectric cooling, steam, hydropower)

## Slide 21: Water conservation is energy conservation