## Slide 1
Cordova Electric Cooperative & Alaska Energy Authority
“Societal Benefits of Energy Resources: Alaska’s Community Microgrids”
Cordova, Alaska Waterfront
The Energy Council
Annual Meeting: Anchorage, Alaska
Notes: Cordova is located in Prince William Sound in southcentral Alaska about 150 air miles from Anchorage with a population of 2,300. The community’s time-tested resilience in reinventing it’s excellence in the wake of disasters can be likened to a phoenix that keeps rising from the ashes. From the
closure of the world’s largest Kennecott Copper Mine and longest private railroad Copper River and Northwest in 1938, to the resurrection as the world’s largest razor clam industry destroyed by the 1964 great Alaska earthquake uplift, to the more recent globally ranked Prince William Sound fisheries’ devastation by the 1989 Exxon Valdez oil spill, Cordova bounds to its feet when knocked flat. Current status includes a ranking as the 13th largest seafood delivery port in the US, the largest commercial fishing fleet in Alaska, and a world-class intelligent energy grid boasting 100% LED street lighting, 100% underground power lines, 77% renewable energy supply, and leading and innovating micro grid technology. Socially, Cordova is ranked as the best high school, safest community, and third best city for young families in Alaska. It ranks in the top ten communities in Alaska in nearly every positive metric and continues to grow its population despite a statewide recession. This ascension has resulted from state and federal grants and loans for energy infrastructure and private sector fishing and processing infrastructure investments. It has been aided by the resilience and agility of CEC and other community organizations partnering to navigate the financial, regulatory, and business challenges of developing and operating energy infrastructure with lean resources and a formidable logistical environment. These successes have attracted the interest of the national laboratories.

## Slide 2: Alaska Microgrid Landscape
Governance Models
Cost
Scale
Complexity

## Slide 3
COOPERATION,
ADAPTATION & INNOVATION
IN CORDOVA, ALASKA
Rise of a Community:
Notes: Cordova is a coastal rainforest community in southcentral Alaska. This vibrant fishing community of 2,300 has risen to prominence as the 13th largest seafood port in the United States. It is not connected to the Alaska electrical grid or road system, and has had to adapt and innovate to grow their economy in a dynamic and uncertain environment. Strategic investments in energy infrastructure and efficient seafood processing have delivered social value to the community which boasts some of the best schools and public safety in the state.

## Slide 4
Copper River & NW Railroad – Closed 1938
Exxon Valdez Oil Spill 1989
Cordova: A Resilience Case
Resilience: The capacity to recover quickly from difficulties; grit. Starts from a position of strength / capacity, is devastated by events, and returns to a position of strength. Resides with people and organizations, not resources or technology.
Great Alaska Earthquake 1964
Notes: Cordova was founded as a Copper Ore terminal for the richest Copper Strike and developed the largest private railroad in the world in 1907 which brought tremendous prosperity to the community. In 1938 the mine and railroad closed, creating an overnight economic collapse. Cordova rebuilt as the “Razor Clam Capital” of the world on the bivalve delicacy, but the 1964 Great Alaska Earthquake uplifted ground in the region, including clam beds, 8-12 feet causing overnight devastation of the clams. Cordova rebuilt on a quality and branding model for salmon launching the Copper River Salmon juggernaut which now boasts spring salmon prices in excess of $110 per pound ($242 USD / Kilo). The fisherman also volunteered time and materials and worked with the State of Alaska to build a large not-for-profit hatchery system producing a large volume of pink salmon primarily. Then in 1989, the disastrous Exxon Valdez Oil Spill destroyed the fisheries in Prince William Sound. After the oil spill, the pink salmon were elevated to a higher quality model which along with better utilization of fish waste to produce pharmaceutical grade and pet grade salmon oils, has elevated Cordova back to a major port – a $100,000,000 economy for 2,600 residents.

## Slide 5
Orca Power Plant
10.8 MW Diesel
Control Center, CEC
Humpback Creek Hydroelectric Plant
1250kW (2 x 500 kW + 1 x 250 kW)
17,000 foot UG and submarine transmission line
Power Creek Hydroelectric
6278kW (2 x 3124 kW)
25 kV transmission ties to Eyak Substation, Inflatable dam
City of Cordova
1,566 customers, 18MW
One Substation
78mi UG distribution lines
Battery Energy Storage System
1 MW, 1MWh
ABB/SAFT at
Eyak Substation
CEC Grid Architecture
HBC Edge Cloud
Water Cooled
Decentralized Cloud
Notes: The Current CEC Grid and Operations:
2 run-of-river hydroelectric plants; 1 diesel plant, one BESS (battery storage system)
100% underground distribution system
Spill 3-4 gWh of hydro per year at unpredictable times
Supplement with 5-6 gWh of diesel per year
Bad fishing results in less demand thus a better hydro percentage but lower sales
Storage in multiple forms- snow/ice, big snow year = more storage in the mountains
Rain Rain Rain is fuel - but too much causes problemswith flooding, gravel, debris
Opportunity for community solar (BESS helps)
Opportunity for stored hydro and water for winter seafood processing (Raging Creek)

## Slide 6
COOPERATION: BETTER TOGETHER
Notes: Cooperation is in our name, and comes naturally to a utility owned and governed by the customers; we are value rather than profit driven. With limited resources and organizational capacities in the Arctic, it is imperative to collaborate and work with partners to seek shared value from our projects and initiatives. Cordova has climbed some steep mountains largely because of the cooperation and support from state and federal government, local tribe and native corporations, sister utilities around the state, the US National Laboratories and Alaska’s own arctic laboratory and thinktank, the Alaska Center for Energy and Power (ACEP). Lessons your mother taught you are important in this regard; pick your friends carefully, and to have friends, you have to be a friend.

## Slide 7
CEC Customer Engagement
Powering Cordova Video Series:
Episode 1: https://www.youtube.com/watch?v=VV_e56FGuSg&t=4s
Episode 2:
https://www.youtube.com/watch?v=GE9exIo1G8g
BBC – Humanising Energy Cordova:
https://www.youtube.com/watch?v=fKi8kGJJD1U&t=66s

## Slide 8: Community Return On Investment
Once a partnering and collaborative environment of teamwork has been established, the value streams from an investment can be maximized. In addition to economic benefits - social, educational, recreational and adjacent value streams can be derived.

## Slide 9
ADAPTATION: THE KEY TO SURVIVAL
Notes: The Arctic can be a harsh and unforgiving teacher. Volcanoes, coastal storms, avalanches, flooding, earthquakes, tsunamis; the forces of nature can overwhelm and destroy with the very energy we try to harness. Cordova has buried all power lines to protect them from near hurricane force winds and avalanches that occur yearly. Severe flooding destroyed one of our hydro projects that had to be rebuilt to withstand more frequent and severe flooding events in a changing climate. Power Power plants, offices, and equipment are designed and located to withstand earthquakes and tsunamis. Hydro plant intake structures have been modified to better manage gravel, trees, ice, and debris that cause clogging. Large stocks of spare air and oil filters are kept on hand in case erupting volcanoes contaminate the air with abrasive ash that can be hard on engines. But the most important resource is agile and talented employees who understand and enjoy working outdoors in extreme and challenging conditions.

## Slide 10: Power Creek Hydroelectric: A Gold Standard for Energy Investments Local, State, Federal, Industry Partnership to Raise all Ships Project Cost: $24M - $12M Federal, $12M State of Alaska
Power Creek Run of River Hydro Intake
Notes: Current Operations: Up to 750 kW of hydro is deflected to provide system spinning reserve. When water supply declines or system loads increase, a diesel must come online and busses at a minimum of 400kW. This creates a transition from 750kW of wasted hydro to 1150 kW of wasted hydro, and when a 200kW dead band is added to prevent automated switching back and forth between diesel and hydro, the total waste rises to 1350 kW on a grid that only averages 3400 kW of demand.
BESS Operations:
Increased Hydro Production:
  Liberate 750kW of hydro for frequency control (Battery) – 90% of diesel savings
  Charge and Discharge with excess (minimum 400kW load) diesel, this is the classic “arbitrage” case of buying low cost power (hydro) from ourselves to charge the battery, and selling it to ourselves instead of producing more energy with high cost power (diesel) – 10% of diesel savings
  Improved diesel efficiency – battery – run less diesel and load them more as the battery provides spinning reserve
Reduced O&M Costs – more overall equipment but less O&M intensive diesel generation
Goal is to meet a triple constraint: maximize battery life, maximize power quality, and maximize diesel fuel savings – these goals compete with each other as tighter frequency controls result in better power quality but require more battery cycles which reduce life. Maximum diesel savings requires arbitrage which deep cycles the battery – sharply reducing battery life and total lifecycle energy savings.
CEC BESS is limited to
5000 cycles at 1000kWh = 5 GWh (Gigawatt Hours) but can achieve
10,000,000 cycles at 50kWh or less discharges = 500 GWh = 100x total energy storage/release if cycled with shallow cycles rather than deep kWh discharges
In the first year of operation, the newly installed BESS saved approximately 50,000 gallons of diesel fuel.

## Slide 11: Optimization & The high cost of complacency
Instream Flow – 22,000 gal
Trash Screens – 15,000 gal
BESS Control – 25,000 gal
Valve Upgrade – 20,000 gal
Power Factor – 5,000 gal
Diesel Warm – 25,000 gal
Diesel Upgrades – 40,000 gal
2025 Trend: 85% Hydro, only 300,000 gallons of diesel use
Notes: Incremental improvements to liberate hydro capacity and maximize diesel fuel offset are often a fraction of the cost of adding greenfield hydro capacity and become the gift that keeps on giving. Combined hydro optimization since construction of CEC’s two plants are delivering an estimated 150,000 gallons in annual fuel savings which at higher (current) fuel costs represents 6-7% savings on customers’ annual electric bills.

## Slide 12
100% Underground Power Lines: Reliability
Notes: When Cordova Electric Cooperative was formed, the primary objective was to improve the reliability of local electric service delivery. This centered around two founding initiatives: a move to locally sourced energy supply, and converting the electrical distribution system to 100% underground to weather winter storms, avalanches, etc. CEC now has one of the highest reliability grids in the World. Pictured here is the CEC line crew disconnecting the last remaining overhead line September 17, 2011.

## Slide 13
Cordova Seasonal Load Dynamics
Partners: Cordova Electric Cooperative, ACEP, SNL, CESA – funded through DOE OE
Notes: This video shows the seasonal demand changes quite nicely.
The blue graph is the hourly demand on the date shown at the top left.
The red graph is the average load in Cordova by hour.
Red dashed lines are the minimum and maximum load.
Once the video runs, the last five days of demand slowly fade away (black to gray graphs).

## Slide 14: A US Department of Energy Sponsored Microgrid Battery Energy Storage Application (Dr. Imre Gyuk, Director of Energy Storage Research, Office of Electricity)
Partners: US Dept of Energy-sandia-NRECA-acep-cec;
Saft/abb package
Notes: Phase 1 Funded by US Department of Energy, was an analysis of CEC’s data set by Alaska Center for Energy and Power (ACEP) and Sandia National Laboratories. Using a “normal” year of 2012, the power generation and use was statically modelled with various power (kW) and energy (kWh) sizes by ACEP to determine the best size and fit to maximize return on investment – a 1000kW, 500kWh was determined optimal. Sandia then performed a dynamic model which created a load flow and dynamic response model to determine where the battery should be located in the CEC system to minimize losses and maximize performance and the Eyak Substation, centrally located, was determined to be the best location.
Phase 2 - The Department of Energy then funded the engineering design for the substation upgrades of grounding grid, civil and electrical design, physical and operational integration into the CEC grid, and monitoring/measurement of performance for three years. CEC developed the Request for Proposals by borrowing and revising templates provided by Sandia National Laboratory and the National Rural Electric Cooperative Association (NRECA) Business and Technology Strategy (BTS) Group. CEC Received three proposals and selected the SAFT/ABB package. ABB proposed an ABB/Samsung package, but CEC considered most of the safety and performance risks to reside with the Lithium Ion technology, so selected SAFT, the battery supplier, as a preferred vendor and to maintain direct commercial support and warranty with the battery supplier. SAFT and ABB were the preferred package due to commercial readiness, 100 year plus performance and stability, and deep technical resources for both companies for our off-grid application.

## Slide 15
INNOVATION: A PATH TO THE FUTURE
Notes: A few of our initiatives include battery energy storage which we will use to provide a high value use case of spinning reserve and frequency stability that unlocks 500 kilowatts of hydro capacity that are currently wasted to provide these services. We have installed more free electric vehicle charging stations than we have electric vehicles (so far), but are working with the US Department of Energy via the RADIANCE project to automate the delivery of excess hydroelectricity to electric vehicle charging stations when it is available - for a fraction of the cost of gasoline. The RADIANCE project is also developing new grid architectures on our microgrid where we can work with our customer-owners to test and prove a variety of configurations that can be applied to other microgrids and the US national grid, while carefully measuring the cost and value of the improvements. The architectures will help improve grid resilience to better withstand environmental, physical, and cyber threats.

## Slide 16: Metro-Tel Cable Hound & Repurposed Reel

## Slide 17
Implemented: October 1, 2024

## Slide 19: CEC Digital Blueprint development for Real-time CHIL & PHIL evaluation
CEC Microgrid’s Eyak Substation with BESS
250 kW electric boiler as dispatchable load and saves diesel fuel 1500 gal/month

## Slide 20: Heat Pumps
Test Agreement – US Manufacturer
Incentive Programs
  CEC Mini-grant
  USDA RESP 0% Loans
  IIJA Incentives
Aligns with sales growth strategy
Can save customers substantially
Supported by Winter Incentive Rate

## Slide 21: Head in the Clouds: Local Area Cloud/ Edge computing
Grow Sales
Utilize Capacity
Cloud Services “Inside the Fence”
Data Security and Sovereignty
Crossing the Digital Divide – Local Tech
Cloud / AI Development Space
New Nexus: energy-data-communications

## Slide 22
THANK YOU! – Questions?
Cordova Center – Cordova, Alaska
2025 Alaska Power Association Annual Meeting
September 23-26
We Welcome Policy Tours and Field Hearings
ckoplin@cordovaelectric.com (907) 831-6339 M
Notes: With limited access to scare resources; lean, agile practices, incremental and innovative improvements can optimize hydro production to minimize diesel use.